Mega-Light MR16-LED Downlighter:

| Specifications: - Light Source: White 10mm LED - Colour Temperature: 7000K - Input Voltage: 10~14VAC / 8~14VDC - Current Draw @ 12VDC: 250~370mA - Beam Angle: 40° - Intensity: 1000 Lumens, 400 Lux at 1m - Nett Weight: 61g - Operating Temp.: -40°C to +50°C - Storage Temp.: -40°C to +80°C | Features: - Fits standard GX 5.3 MR16 socket - Low Voltage AC or DC operation. - Estimated Life: At least 50,000 hours - Applications: Retail, Ceiling Fixture, Restaurant Lobby, Hallway, Casino, Pub, Security Lighting, and many other accent lighting applications. |
| --- | --- |