Mega-Light MR16-LED Downlighter:

| Specifications: Light Source: White 10mm LED Colour Temperature: 7000K Input Voltage: 10~14VAC / 8~14VDC Current Draw @ 12VDC: 250~370mA Beam Angle: 40° Intensity: 1000 Lumens, 400 Lux at 1m Nett Weight: 61g Operating Temp.: -40°C to +50°C Storage Temp.: -40°C to +80°C | Features: Fits standard GX 5.3 MR16 socket Low Voltage AC or DC operation. Estimated Life: At least 50,000 hours Applications: Retail, Ceiling Fixture, Restaurant Lobby, Hallway, Casino, Pub, Security Lighting, and many other accent lighting applications. |
| --- | --- |